## Parallel
Parallel Powerline Transmission Configuration
Date: 25.4.2019
ALISA BOARD: X
Symbol Index:
U1 | Measured Voltage Left Antenna
U2 | Measured Voltage Right Antenna
U3 | Amplified Measured Voltage Left Antenna
U4 | Amplified Measure Voltage Right Antenna | [5 empty] | Left Antenna |  | Average |  |  | Right Antenna
[7 empty] | U1 |  | Uavg |  |  | U2
Uavg | Average Voltage | [5 empty] | ANG1 |  | ANGdiff |  |  | ANG2
[7 empty] | Amplified Measurement |  |  |  |  | Amplified Measurement
ANG1 | Measured Angle Left Antenna | [5 empty] | U3 |  |  |  |  | U4
ANG2 | Measured Angle Right Antenna | [5 empty] | ANG3 |  |  |  |  | ANG4
ANG3 | Amplified Measured Angle Left Antenna
ANG4 | Amplified Measured Angle Right Antenna
ANGdiff | Angle difference
[5 empty] | Measurement 1 |  | Measurement 2 |  | Measurement 1 | [6 empty] | Measurement 2
|  | Left | Middle | Right | Uavg | ANGdiff | Uavg | ANGdiff | U1 | U2 | ANG1 | ANG2 | U3 | U4 | ANG3 | U1 | U2 | ANG1 | ANG2 | U3 | U4 | ANG3 | Battery [mV] | Temp. [C]
|  | 10kV | 10kV | 10kV | 64 | 43 | 75 | 19 | 46 | 82 | 296 | 339 | 34 | 39 | 338 | 53 | 98 | 111 | 130 | 38 | 46 | 137 | 3579 | 19.3
|  | 20kV | 20kV | 20kV | 100 | 63 | 123 | 23 | 72 | 129 | 139 | 202 | 52 | 62 | 185 | 82 | 165 | 34 | 57 | 58 | 70 | 68 | 3581 | 19.3
|  | 30kV | 30kV | 30kV | 161 | 43 | 164 | 22 | 110 | 212 | 31 | 74 | 72 | 92 | 67 | 105 | 224 | 276 | 298 | 72 | 96 | 303 | 3579 | 19.3
|  | X | 10kV | 10kV | 200 | 5 | 207 | 7 | 189 | 214 | 36 | 31 | 85 | 92 | 50 | 195 | 220 | 48 | 41 | 87 | 96 | 250 | 3579 | 19.3
|  | X | 20kV | 20kV | 360 | 6 | 383 | 6 | 341 | 380 | 31 | 23 | 153 | 161 | 45 | 361 | 405 | 122 | 116 | 161 | 169 | 135 | 3579 | 19.3
|  | X | 30kV | 30kV | 535 | 6 | 549 | 6 | 503 | 568 | 165 | 159 | 219 | 222 | 177 | 518 | 581 | 303 | 297 | 221 | 225 | 315 | 3579 | 19.3
|  | 10kV | X | 10kV | 200 | 18 | 202 | 18 | 188 | 213 | 125 | 143 | 82 | 88 | 148 | 188 | 216 | 211 | 229 | 83 | 92 | 231 | 3579 | 19.3
|  | 20kV | X | 20kV | 370 | 17 | 373 | 16 | 349 | 391 | 103 | 120 | 153 | 166 | 121 | 350 | 397 | 263 | 280 | 155 | 167 | 110 | 3581 | 19.3
|  | 30kV | X | 30kV | 539 | 18 | 541 | 17 | 508 | 570 | 78 | 96 | 215 | 227 | 98 | 503 | 580 | 182 | 199 | 214 | 229 | 202 | 3581 | 19.3
|  | 10kV | 10kV | X | 175 | 2 | 170 | 1 | 182 | 169 | 53 | 51 | 76 | 75 | 68 | 177 | 163 | 25 | 23 | 76 | 73 | 8 | 3579 | 19.3
|  | 20kV | 20kV | X | 328 | 2 | 316 | 3 | 343 | 313 | 122 | 120 | 143 | 135 | 135 | 329 | 304 | 48 | 241 | 138 | 132 | 256 | 3579 | 19.3
|  | 30kV | 30kV | X | 479 | 1 | 448 | 2 | 502 | 462 | 264 | 263 | 205 | 196 | 277 | 466 | 431 | 135 | 133 | 190 | 186 | 150 | 3582 | 19.3
|  | X | X | 10kV | 219 | 2 | 216 | 1 | 200 | 238 | 34 | 36 | 87 | 98 | 53 | 200 | 234 | 115 | 116 | 86 | 97 | 132 | 3579 | 19.3
|  | X | X | 20kV | 401 | 1 | 391 | 2 | 363 | 436 | 139 | 140 | 166 | 179 | 152 | 355 | 427 | 128 | 130 | 162 | 173 | 141 | 3579 | 19.3
|  | X | X | 30kV | 582 | 2 | 577 | 2 | 528 | 637 | 211 | 213 | 231 | 245 | 226 | 524 | 631 | 77 | 79 | 229 | 244 | 91 | 3579 | 19.3
|  | X | 10kV | X | 171 | 2 | 167 | 5 | 170 | 172 | 190 | 194 | 71 | 73 | 230 | 166 | 169 | 238 | 243 | 70 | 72 | 253 | 3579 | 19.3
|  | X | 20kV | X | 308 | 4 | 310 | 3 | 306 | 310 | 228 | 232 | 131 | 132 | 244 | 309 | 311 | 167 | 170 | 131 | 132 | 182 | 3579 | 19.3
|  | X | 30kV | X | 453 | 4 | 447 | 4 | 451 | 455 | 244 | 248 | 192 | 194 | 257 | 446 | 449 | 22 | 26 | 189 | 191 | 37 | 3579 | 19.3
|  | 10kV | X | X | 173 | 4 | 172 | 4 | 184 | 162 | 265 | 269 | 75 | 73 | 251 | 183 | 162 | 21 | 25 | 76 | 72 | 34 | 3579 | 19.3
|  | 20kV | X | X | 322 | 5 | 329 | 4 | 337 | 304 | 122 | 127 | 139 | 134 | 137 | 348 | 310 | 246 | 230 | 143 | 138 | 239 | 3579 | 19.3
|  | 30kV | X | X | 477 | 4 | 493 | 5 | 506 | 449 | 67 | 73 | 202 | 196 | 59 | 522 | 464 | 55 | 60 | 209 | 200 | 35 | 3579 | 19.3
|  | X | X | X | 1 | 11 | 0 | 31 | 1 | 2 | 213 | 224 | 1 | 1 | 210 | 0 | 0 | 183 | 214 | 0 | 0 | 226 | 3579 | 19.3
ALISA MODUL

## Triangle
Triangle Powerline Transmission Configuration
Date: 25.4.2019
ALISA BOARD: X
Symbol Index:
U1 | Measured Voltage Left Antenna
U2 | Measured Voltage Right Antenna
U3 | Amplified Measured Voltage Left Antenna
U4 | Amplified Measure Voltage Right Antenna | [5 empty] | Left Antenna |  | Average |  |  | Right Antenna
[7 empty] | U1 |  | Uavg |  |  | U2
Uavg | Average Voltage | [5 empty] | ANG1 |  | ANGdiff |  |  | ANG2
[7 empty] | Amplified Measurement |  |  |  |  | Amplified Measurement
ANG1 | Measured Angle Left Antenna | [5 empty] | U3 |  |  |  |  | U4
ANG2 | Measured Angle Right Antenna | [5 empty] | ANG3 |  |  |  |  | ANG4
ANG3 | Amplified Measured Angle Left Antenna
ANG4 | Amplified Measured Angle Right Antenna
ANGdiff | Angle difference
[5 empty] | Measurement 1 |  | Measurement 2 |  | Measurement 1 | [6 empty] | Measurement 2
|  | Left | Middle | Right | Uavg | ANGdiff | Uavg | ANGdiff | U1 | U2 | ANG1 | ANG2 | U3 | U4 | ANG3 | U1 | U2 | ANG1 | ANG2 | U3 | U4 | ANG3 | Battery [mV] | Temp. [C]
|  | 10kV | 10kV | 10kV | 154 | 63 | 156 | 66 | 114 | 196 | 39 | 102 | 62 | 85 | 79 | 125 | 188 | 265 | 331 | 62 | 83 | 300 | 3581 | 19.3
|  | 20kV | 20kV | 20kV | 276 | 68 | 275 | 69 | 210 | 343 | 145 | 213 | 98 | 136 | 3 | 220 | 331 | 278 | 347 | 94 | 126 | 313 | 3579 | 19.3
|  | 30kV | 30kV | 30kV | 405 | 67 | 429 | 69 | 321 | 490 | 311 | 18 | 136 | 188 | 346 | 344 | 515 | 2 | 67 | 146 | 192 | 344 | 3582 | 19.3
|  | X | 10kV | 10kV | 285 | 12 | 263 | 13 | 245 | 325 | 166 | 154 | 125 | 135 | 178 | 226 | 300 | 146 | 133 | 116 | 123 | 107 | 3579 | 19.3
|  | X | 20kV | 20kV | 523 | 13 | 507 | 13 | 451 | 596 | 177 | 164 | 216 | 227 | 188 | 437 | 578 | 278 | 265 | 207 | 221 | 285 | 3579 | 19.1
|  | X | 30kV | 30kV | 764 | 13 | 769 | 12 | 659 | 869 | 212 | 199 | 299 | 318 | 222 | 663 | 876 | 68 | 56 | 301 | 320 | 77 | 3579 | 19.3
|  | 10kV | X | 10kV | 301 | 34 | 300 | 34 | 270 | 333 | 165 | 199 | 118 | 138 | 190 | 270 | 323 | 242 | 276 | 119 | 136 | 265 | 3579 | 19.3
|  | 20kV | X | 20kV | 568 | 33 | 560 | 34 | 512 | 624 | 22 | 55 | 215 | 245 | 47 | 506 | 615 | 349 | 23 | 213 | 241 | 114 | 3579 | 19.3
|  | 30kV | X | 30kV | 805 | 36 | 790 | 34 | 736 | 874 | 320 | 65532 | 293 | 331 | 132 | 729 | 851 | 69 | 103 | 287 | 323 | 93 | 3579 | 19.1
|  | 10kV | 10kV | X | 242 | 7 | 240 | 6 | 275 | 209 | 142 | 135 | 114 | 100 | 154 | 272 | 208 | 345 | 339 | 112 | 97 | 65534 | 3579 | 19.3
|  | 20kV | 20kV | X | 451 | 6 | 453 | 5 | 516 | 387 | 34 | 28 | 207 | 182 | 45 | 519 | 387 | 214 | 209 | 206 | 182 | 226 | 3581 | 19.3
|  | 30kV | 30kV | X | 659 | 6 | 650 | 6 | 756 | 563 | 242 | 236 | 288 | 257 | 254 | 761 | 555 | 196 | 190 | 279 | 251 | 206 | 3579 | 19.3
|  | X | X | 10kV | 314 | 1 | 303 | 1 | 261 | 368 | 18 | 20 | 127 | 149 | 349 | 251 | 356 | 56 | 56 | 117 | 142 | 213 | 3579 | 19.3
|  | X | X | 20kV | 579 | 1 | 548 | 0 | 479 | 679 | 219 | 220 | 229 | 253 | 234 | 453 | 643 | 336 | 336 | 218 | 241 | 352 | 3579 | 19.2
|  | X | X | 30kV | 835 | 0 | 819 | 0 | 711 | 971 | 36 | 36 | 320 | 348 | 51 | 686 | 953 | 256 | 255 | 312 | 338 | 27 | 3579 | 19.3
|  | X | 10kV | X | 176 | 2 | 177 | 2 | 175 | 177 | 108 | 110 | 74 | 77 | 126 | 177 | 177 | 235 | 237 | 74 | 77 | 249 | 3581 | 19.3
|  | X | 20kV | X | 326 | 3 | 314 | 3 | 324 | 329 | 69 | 72 | 139 | 144 | 84 | 312 | 316 | 185 | 188 | 134 | 136 | 162 | 3579 | 19.3
|  | X | 30kV | X | 479 | 3 | 474 | 4 | 476 | 482 | 226 | 229 | 202 | 203 | 240 | 471 | 478 | 64 | 68 | 204 | 204 | 78 | 3582 | 19.3
|  | 10kV | X | X | 278 | 6 | 532 | 7 | 315 | 241 | 34 | 40 | 127 | 114 | 47 | 606 | 458 | 305 | 312 | 232 | 214 | 284 | 3579 | 19.3
|  | 20kV | X | X | 523 | 7 | 541 | 6 | 594 | 453 | 153 | 160 | 233 | 213 | 112 | 613 | 467 | 257 | 263 | 236 | 217 | 271 | 3582 | 19.3
|  | 30kV | X | X | 777 | 7 | 784 | 7 | 880 | 674 | 245 | 252 | 324 | 301 | 258 | 887 | 681 | 118 | 125 | 327 | 303 | 80 | 3581 | 19.3
|  | X | X | X | 4 | 36 | 3 | 59 | 4 | 4 | 209 | 245 | 2 | 2 | 214 | 3 | 3 | 262 | 321 | 2 | 2 | 267 | 3579 | 19.3
ALISA MODUL

## Delta
Delta Powerline Transmission Configuration
Date: 25.4.2019
ALISA BOARD: X
Symbol Index:
U1 | Measured Voltage Left Antenna
U2 | Measured Voltage Right Antenna
U3 | Amplified Measured Voltage Left Antenna
U4 | Amplified Measure Voltage Right Antenna | [5 empty] | Left Antenna |  | Average |  |  | Right Antenna
[7 empty] | U1 |  | Uavg |  |  | U2
Uavg | Average Voltage | [5 empty] | ANG1 |  | ANGdiff |  |  | ANG2
[7 empty] | Amplified Measurement |  |  |  |  | Amplified Measurement
ANG1 | Measured Angle Left Antenna | [5 empty] | U3 |  |  |  |  | U4
ANG2 | Measured Angle Right Antenna | [5 empty] | ANG3 |  |  |  |  | ANG4
ANG3 | Amplified Measured Angle Left Antenna
ANG4 | Amplified Measured Angle Right Antenna
ANGdiff | Angle difference
[5 empty] | Measurement 1 |  | Measurement 2 |  | Measurement 1 | [6 empty] | Measurement 2
|  | Left | Middle | Right | Uavg | ANGdiff | Uavg | ANGdiff | U1 | U2 | ANG1 | ANG2 | U3 | U4 | ANG3 | U1 | U2 | ANG1 | ANG2 | U3 | U4 | ANG3 | Battery [mV] | Temp. [C]
|  | 10kV | 10kV | 10kV | 251 | 57 | 240 | 59 | 311 | 191 | 164 | 221 | 119 | 105 | 186 | 298 | 182 | 342 | 41 | 112 | 99 | 1 | 3579 | 17.7
|  | 20kV | 20kV | 20kV | 486 | 55 | 470 | 53 | 612 | 361 | 263 | 316 | 210 | 185 | 330 | 589 | 352 | 211 | 264 | 202 | 176 | 231 | 3579 | 17.7
|  | 30kV | 30kV | 30kV | 703 | 52 | 685 | 53 | 891 | 516 | 127 | 179 | 287 | 253 | 147 | 859 | 511 | 71 | 124 | 275 | 245 | 90 | 3579 | 17.7
|  | X | 10kV | 10kV | 269 | 9 | 251 | 9 | 234 | 305 | 308 | 299 | 121 | 131 | 319 | 218 | 285 | 112 | 103 | 108 | 116 | 123 | 3579 | 17.7
|  | X | 20kV | 20kV | 462 | 9 | 481 | 10 | 401 | 524 | 217 | 207 | 190 | 207 | 258 | 417 | 546 | 183 | 173 | 196 | 209 | 193 | 3579 | 17.7
|  | X | 30kV | 30kV | 684 | 9 | 686 | 10 | 592 | 776 | 331 | 322 | 270 | 286 | 342 | 597 | 775 | 80 | 70 | 270 | 287 | 91 | 3579 | 17.7
|  | 10kV | X | 10kV | 375 | 39 | 388 | 38 | 411 | 338 | 350 | 29 | 165 | 160 | 12 | 430 | 347 | 91 | 129 | 168 | 162 | 113 | 3581 | 17.7
|  | 20kV | X | 20kV | 742 | 37 | 736 | 38 | 820 | 665 | 70 | 107 | 293 | 290 | 101 | 817 | 655 | 45 | 10 | 286 | 285 | 65530 | 3579 | 17.7
|  | 30kV | X | 30kV | 1047 | 37 | 1051 | 37 | 1160 | 934 | 91 | 128 | 406 | 398 | 113 | 1164 | 939 | 313 | 350 | 405 | 397 | 334 | 3579 | 17.7
|  | 10kV | 10kV | X | 365 | 4 | 372 | 4 | 449 | 283 | 314 | 310 | 174 | 142 | 324 | 457 | 288 | 50 | 46 | 176 | 148 | 60 | 3579 | 17.7
|  | 20kV | 20kV | X | 702 | 4 | 713 | 5 | 866 | 539 | 315 | 311 | 308 | 265 | 319 | 878 | 549 | 313 | 308 | 312 | 267 | 324 | 3579 | 17.7
|  | 30kV | 30kV | X | 992 | 5 | 1016 | 4 | 1211 | 773 | 274 | 269 | 429 | 364 | 283 | 1241 | 792 | 118 | 114 | 438 | 369 | 128 | 3579 | 16.8
|  | X | X | 10kV | 300 | 0 | 284 | 2 | 253 | 348 | 83 | 83 | 120 | 139 | 98 | 241 | 327 | 109 | 109 | 111 | 130 | 78 | 3579 | 16.8
|  | X | X | 20kV | 536 | 1 | 523 | 1 | 453 | 619 | 102 | 103 | 213 | 229 | 116 | 436 | 604 | 28 | 29 | 209 | 225 | 43 | 3579 | 17.7
|  | X | X | 30kV | 760 | 1 | 755 | 2 | 653 | 877 | 21 | 20 | 295 | 321 | 35 | 644 | 867 | 265 | 265 | 289 | 34 | 65530 | 3579 | 17.7
|  | X | 10kV | X | 175 | 1 | 162 | 0 | 170 | 181 | 90 | 91 | 75 | 78 | 94 | 155 | 170 | 243 | 243 | 68 | 69 | 257 | 3581 | 17.7
|  | X | 20kV | X | 313 | 1 | 305 | 1 | 304 | 322 | 49 | 50 | 129 | 133 | 61 | 296 | 315 | 214 | 215 | 127 | 130 | 226 | 3579 | 17.7
|  | X | 30kV | X | 456 | 1 | 446 | 2 | 442 | 470 | 21 | 22 | 195 | 198 | 35 | 426 | 461 | 237 | 239 | 191 | 198 | 251 | 3581 | 16.8
|  | 10kV | X | X | 428 | 7 | 436 | 7 | 516 | 340 | 59 | 66 | 201 | 174 | 71 | 525 | 347 | 238 | 245 | 202 | 176 | 251 | 3579 | 17.7
|  | 20kV | X | X | 792 | 8 | 804 | 8 | 950 | 634 | 328 | 336 | 336 | 298 | 319 | 963 | 646 | 205 | 213 | 342 | 306 | 218 | 3579 | 16.8
|  | 30kV | X | X | 1135 | 8 | 1152 | 7 | 1334 | 936 | 176 | 184 | 482 | 427 | 190 | 1353 | 951 | 300 | 308 | 491 | 431 | 295 | 3579 | 17.7
|  | X | X | X | 13 | 1 | 10 | 7 | 15 | 11 | 83 | 84 | 9 | 10 | 48 | 13 | 8 | 70 | 63 | 7 | 7 | 75 | 3579 | 17.7
ALISA MODUL